MICHIGAN

DEPARTMENT OF TRANSPORTATION

SPECIAL PROVISION

FOR

SANITARY SEWER SYSTEM MATERIALS AND CONSTRUCTION

UTL:CJD	1 of 1	APPR:RPB:DBP:09-08-23

a.	Description.  This work consists of installing PVC sanitary sewer in a steel casing pipe as part of the City of Flint sanitary system.  Unless otherwise noted below, ensure all work, materials, construction requirements, and methods of measurement and payment are in accordance with the standard specifications.

b.	Submittals.  Submit PDF product data consisting of shop drawings and manufacturer’s literature to the Engineer and the City of Flint for approval at least 10 working days prior to construction.

Submit a general work plan outlining the procedure and schedule to be used for installation of the sanitary sewer.

c.	Materials.  Furnish the listed materials below in accordance with sections 401, 825, 909, and 923 of the Standard Specifications for Construction, and the City of Flint Specifications.  The specific items listed conform to the City of Flint sanitary sewer system requirements and no substitutions are permitted.

Furnish PVC pipe in accordance with section 825 of the Standard Specifications for Construction.

Furnish casing chocks or wooden skids as shown on the plans or as approved by the Engineer.

d.	Construction.  Ensure construction is in accordance with the standard specifications, the City of Flint specifications, and as detailed on the plans.

Furnish and install fittings and gaskets; construct skid units or casing chocks; install the sanitary sewer into a steel casing pipe and seal the end of the steel casing; brace, sheet, block, or provide temporary support of adjacent utilities within the limits of the sanitary sewer construction; and include other miscellaneous items for installing pipe and reconnecting to the municipal sanitary sewer system.

e.	Measurement and Payment.  The completed work, as described, will be measured and paid for at the contract unit price in accordance with section 825 of the Standard Specifications for Construction except as follows:

Pay Item	Pay Unit

Sanitary Sewer, PVC, __inch	Foot

Sanitary Sewer, PVC, __inch will be measured along the centerline of the pipe with no deductions for fittings.