MICHIGAN
DEPARTMENT OF TRANSPORTATION

SPECIAL PROVISION
FOR

# MATERIALS STOCKPILING AND CONSTRUCTION STAGING AREAS

TAY:AJP	1 of 1	APPR:JJG:CRB:03-19-21

a.	Description.  Areas within the MDOT right-of-way have been identified on the plans, which are not allowed for stockpiling equipment, materials, construction staging, and other activities dedicated to the construction of this project.  Other areas within the project limits may be approved by the Engineer on a case by case basis for stockpiling materials, construction staging, and other activities.

b.	Materials.  None specified.

c.	Construction.  Submit and obtain approval of a “Right-of Way Use Plan” in accordance with subsection 104.12 of the Standard Specifications for Construction.  In addition to the requirements detailed in subsection 104.12 of the Standard Specifications for Construction operate within the following guidelines.

Do not store or stockpile equipment, materials, or debris at locations identified on the plans unless approved by the Engineer.  Do not store or stockpile equipment, materials, or debris over existing underground utilities.  Maintain access for the owners of the existing utilities at all times.

Restore all staging, stockpiling, and storage areas to equal to or better than existing conditions.

Do not store or stockpile material or concrete rubble under any structure carrying traffic.  Remove any materials stockpiled under each structure prior to placing live loads on the structure.

d.	Measurement and Payment.  The cost for developing a “Right-of-Way Use Plan”, all labor, equipment, and materials necessary to implement and conduct activities included on said plan and restoration of the approved areas are included in other associated items and will not be paid for separately.