MICHIGAN

DEPARTMENT OF TRANSPORTATION

SPECIAL PROVISION

FOR

**LIGHTING CONTROL PANEL REMOVAL**

DAV:TJV 1 of 1 APPR:DMG:BMB:08-31-23

**a. Description.** This work consists of removing and disposing of the existing lighting control panel and disconnect switch in accordance with the plans and standard specifications.

**b. Materials**. None specified.

**c. Construction.** Complete all removals in accordance with sections 204 and 819 of the Standard Specifications for Construction and as specified herein. Remove all existing electrical equipment including lighting control panel, power and metering equipment, disconnect switch, conduit, wire and cable, and related appurtenances. Dispose of all materials off-site in accordance with section 204 of the Standard Specifications for Construction.

Remove and salvage items requested by the Department, the local maintenance agency and/or the Utility company in accordance with subsection 204.03.B. Notify the requesting agency when the salvaged items are available and allow a reasonable amount of time to obtain the items.

**d. Measurement and Payment.** The completed work, as described, will be measured and paid for at the contract unit price using the following pay item:

**Pay Item Pay Unit**

Ltg Control Panel, Rem Each

**Ltg Control Panel, Rem** includes removing the existing lighting control panel electrical equipment, disconnect switch, and existing power and metering equipment as specified herein and as shown on the plans, or as directed by the Engineer.