MICHIGAN

DEPARTMENT OF TRANSPORTATION

SPECIAL PROVISION

FOR

**PUBLIC LIGHTING AUTHORITY ELECTRICAL, REMOVE AND SALVAGE**

UTL:BMB 1 of 1 APPR:RPB:DBP:08-14-24

**a. Description.** This work consists of removing existing Public Lighting Authority (PLA) light standards and removing and salvaging existing Public Lighting Authority (PLA) luminaires and arms at the locations shown on the plans, as directed by the Engineer and as specified herein.

**b. Materials**. None specified.

**c. Construction.** Remove and salvage materials for future use on the project in accordance with sections 204 and 819 of the Standard Specifications for Construction. Store materials at a location approved by the Engineer. Repair or replace damaged materials resulting from the Contractor’s operation at no cost to the contract.

Dispose of all excess materials in accordance with section 204 of the Standard Specifications for Construction.

**d. Measurement and Payment.** The completed work, as described, will be measured and paid for at the contract unit price using the following pay items:

**Pay Item Pay Unit**

Light Std Shaft, 30 foot or less, Rem, Public Lighting Authority Each

Light Std Arm, 6 foot, Rem and Salv, Public Lighting Authority Each

Luminaire, Rem and Salv, Public Lighting Authority Each

1. **Light Std Shaft, 30 foot or less, Rem, Public Lighting Authority** includes removing existing PLA light standard shafts, line hardware, insulators, and disconnecting any connections to existing underground cables.

2. **Light Std Arm, 6 foot, Rem and Salv, Public Lighting Authority** includes removing and salvaging existing PLA light standard arms.

3. **Luminaire, Rem and Salv, Public Lighting Authority** includes removing and salvaging existing PLA luminaires.